User Manual

Wireless Home Energy Monitor RCS-S22I

(Optical Version)

We strongly suggest you to read over this user manual before you start the installation and setting.

Note to distributors: This user manual is our standard template. You may need to modify this manual according to your local market applications and the actual specification of your purchase order. This user manual is subject to our change without notice.

Thank you for purchasing this smart wireless electricity monitor. This guide will help you set up the wireless monitoring system quickly and easily.

What are included in the standard package?

Your package should contain:

1pc of Display Unit

1pc of Power Adapter for the Display Unit

1pc of 1-way Power Transmitters with 1pc Sensor Clamp

1pc of LED sensor with installation accessories

1pc of RJ45-USB Data Cable (3m)

1pc of the User Manual

The monitor can support up to 15pcs of 1-way power transmitters and each transmitter can support up to 3pcs of sensor clamps for 3-phase, as well as 1pc LED sensor for optical reading. If you’ve bought extra transmitters and sensor clamps, please put them in appropriate place before installation.

This item support data collection by sensor clamp or LED sensor. If the user does not need both way of data collection, to save cost, the package can be shipped with only sensor clamp or only LED sensor.

Basic Introduction

RCS-S22I is a uni-directional (1-way) electricity monitoring system. It collects data of home energy consumption wirelessly and displays the data on the LCD screen so that the user can view in real time the energy consumption conveniently. The user can also view the consumption forecast, history data, energy cost and CO2 emission data via button operation on the monitor.

The transmitter support data collection by sensor clamp or by LED sensor. When the LED sensor is plugged into the transmitter, the sensor clamp on the transmitter will stop working.

The RCS-S22I wireless energy monitoring system consists of below parts:

- 1pc Display Unit with power adapter:

The Display Unit receives data wirelessly from the transmitters, which use the sensor clamp or LED sensor to collect home energy consumption data. The Display Unit displays the collected data in real time.

The user can view the energy data of home consumption as well as the data of each extra transmitter on the Display Unit.

The Display Unit supports batteries for temporary usage if there is no power supply from the power adapter.

- 1-way transmitters with sensor clamp and LED sensor:

The transmitter sends the data collected by the sensor clamp or by the LED sensor to the Display Unit wirelessly.

One Display Unit supports up to 15pcs transmitters at the same time.

The 1-way transmitter supports data collection by sensor clamps or LED sensor. When LED sensor is plugged into the transmitter, the sensor clamp stops working.

- 1pc RJ45-USB data cable to provide computer link

Full LCD Display Layout

Below full LCD display layout covers all LCD screen characters which are to be used for the operation and function of the display.

Required settings before starting using

You have to finish below required settings before you start using this unit, otherwise the display unit will not work normally. The required settings will finish the settings for Date, Time, Voltage, Currency, Tariff, Imp/kWh continually in the order as described. In normal working mode, the user can also press the OK key and hold there for 3 seconds to enter the setting interface and do the settings according to below instructions.

Locate a place where has a power outlet socket nearby and where is convenient for viewing and operating the Display Unit for home users, then plug the power adapter of the Display Unit into the power outlet. Now attach the plug of the power adapter into the Display Unit and the LCD will power on and will display the full symbols for about 3 seconds as below photo:

1) Date setting

Then the LCD screen will automatically enter into the required setting interface starting from the setting for the year as Fig. 2, where you’ll find the default setting for the year is 2011 and the symbol “Y” is flashing above the year value 2011 on the LCD, as per below left photo.

Press shortly the OK key and the number to be set will flash, use the UP key or the DOWN key to set the correct value for each flashing number and press OK key to confirm the value. When the last number of the year is set, all the year value will flash, if it’s not correct, press the OK key to set it from the first number again. If it’s correct, please press the DOWN key to enter the next setting for month. Operate the same way to set each number of the month value, then the same way to set the day value.

2) Time setting

The pressing of DOWN key upon the flashing day value will make the LCD enter into the setting interface for time, where the clock symbol is flashing on the LCD. Press the OK key to set the time.

Operate the same way to use the UP key or the DOWN key to set the correct value for each flashing number and press OK key to confirm the value. When the correct complete time value is flashing on the LCD, press shortly the DOWN key to enter the setting interface for voltage as below photo, where the dash symbols are flashing on the LCD.

3) Voltage setting

If sensor clamp is used to collect data, the voltage must be set correctly. Press the OK key and operate the same way to use the UP key or the DOWN key to set the correct value for each flashing number and press OK key to confirm the value. When the correct complete voltage value is flashing on the LCD, press shortly the DOWN key to enter the setting interface for currency as below photo, where £, € and $ are available for setting.

If the object is single phase, please just set the single voltage. For 3-phase, the voltage set should be the (line-to-line voltage), not (line-to-neutral voltage). And  (line-to-line voltage)=1.732*(line-to-neutral voltage).

4) Currency setting

Press the OK key and use the UP key or the DOWN key to switch to the desired currency symbol and press the OK key again to confirm. Then press shortly the DOWN key to enter the setting interface for tariff, where the symbol  is flashing above the word Tariff.

5) Tariff setting

When the symbol  is flashing, it means that tariff 1 is to be set.

Press the OK key to start setting the location of the decimal point for tariff 1. Use the DOWN key or the UP key to switch the location of the decimal point then press the OK key to confirm. Then use the DOWN/UP key to set the correct value for each flashing number of the tariff value and press OK key to confirm.

When the last number of the tariff value has been confirmed, the clock value will begin to flash. This is for setting the start time of tariff 1. If there is only one tariff per day, please choose any start time or just press the OK key upon the dashes. If it is 2-tariff or 3-tariff per day, please use the DOWN/UP key and the OK key to set the flashing numbers (the clock goes in 24H mode) according to the real start time. When the start time has finished setting, the whole tariff will flash. Then press the DOWN key to confirm tariff 1 and enter the setting interface for tariff 2, where the symbol  is flashing above the word Tariff.

If there is only one tariff per day, please press the OK key directly upon each flashing dash until the whole tariff 2 is flashing. Then press the DOWN key to enter the setting interface of tariff 3. Then also press the OK key directly upon each flashing dash until the whole tariff 3 is flashing. Then press the DOWN key to enter the setting interface of IMP.

If there are two tariffs per day, please use the same way as tariff 1 to set the rate and start time accordingly. During tariff 3, please press the OK key directly upon each flashing dash until the whole tariff 3 is flashing. Then press the DOWN key to enter the setting interface of IMP.

If there are three tariffs per day, please use the same way as tariff 1 to set the rate and start time of tariff 2 and tariff 3 accordingly. When the whole tariff three is flashing, press the DOWN key to enter the setting interface of IMP.

Note:

- No matter the applied tariff is single tariff or multi-tariff, the tariff setting need to go through tariff 1 to tariff 3 accordingly.

- For single tariff, no matter whatever the user sets to the starting time of tariff 1, it will be regarded as single tariff.

- Each tariff just need to set up the starting time, no need to set up the ending time.

6) IMP/KWH setting

If the user is going to use the LED sensor to collect data from the meter, the IMP/KWH value must be set correctly and strictly according to the mark on the meter.

Imp/kWh is short for Impressions per kWh (unit) of electricity which passes through the meter where one 'impression' is a brief flash of an LED. For example, meters labeled with 1000Imp/kWh means that the LED will flash 1000 times for each kWh of electricity which passes through. The rate of the flashing of the LED tells you how much power is currently passing through the meter. And our LED sensor collect data based on the flashing.

Please check how much is the IMP/KWH on your meter, then use the DOWN/UP key and OK key to get the correct value for each flashing number. Pressing the OK key for the last number will save the setting and return the LCD back to the Default Display but with 0 value displayed on the LCD..

Default Display (COST):

Default Display means what the user usually see from the LCD screen in normal working mode. The big 4-digit value on the LCD stands for the forecast of money cost for next hour based on current power being consumed by all paired channels. Pressing the OK key upon this display will switch the LCD’s Default Display to show the real time power consumed by all channels.

In normal working mode, the user can press the OK key and hold there for 3 seconds to enter the setting interface any time and do the settings according to above instructions.

Now keep the Display Unit powered on with the power adapter.

Pairing of the Display Unit with the 1-way Transmitters

Before pairing, please remove the clear plastic tab located on the back of the transmitter (marked: REMOVE BEFORE USING). The tab is an insulation sheet and once it is removed, the batteries inside will power on the transmitter and enable it to start sending signal to the Display Unit.

Upon the Default Display of the monitor, shortly press the UP key or the DOWN key, the clock will disappear and is replaced by the channel number. Let’s now select channel No. 1 and use it to pair with the transmitter. When CH:01 appears, please press the DOWN key and hold it here for about 3 seconds until the LCD changes to be as below photo, where the antenna is flashing and the LED light will be on. The Display Unit will automatically start searching for pairing signal from the transmitter.

Keep the transmitter close to the Display Unit in the same room. Make sure that the plastic tab has been removed.

Now use a slim stick to push into the pairing hole of the transmitter (as shown in below photo) and hold it there for 3 seconds until the LED light of the transmitter flashes quickly. Then release the slim stick and the transmitter is starting to pair with the Display Unit.

After the Display Unit pairs successfully with the transmitter, its LCD screen will automatically return to display as below, where the antenna icon stays at the bottom left corner and the clamp number also appears on the LCD. The LED light of the monitor will go off.

In case the transmitter is plugged with LED sensor upon successful pairing, the LCD screen will automatically return to display as below, where the antenna icon stays at the bottom left corner but there is no clamp number, and the symbol Imp will appear on the LCD.

The Display Unit will stay in pairing mode for 60 seconds while the transmitter stays in the pairing mode for 60seconds. If the pairing was not successful within this period, the Display Unit will return to its Default Display automatically. Please try the pairing from the start again.

To pair the Display Unit with extra transmitters:

The Display Unit has 15 channels and supports up to 15pcs 1-way transmitters with clamps or LED sensor. The Default Display shows the total data of all paired channels. To pair extra transmitters, please just use channel number CH02-CH15 of the Display Unit to pair with them. The pairing process is the same as above instruction. After successful pairing, the user can switch to their channel numbers on the LCD to view their data.

Installation of the 1-way Transmitter and the Sensor Clamp

The transmitter is with 2pcs C batteries inside. It uses sensor clamp or LED sensor to collect the energy consumption data. It has one fixed sensor clamp on it. On the bottom side of the transmitter, there are two more sockets for additional sensor clamps and one socket for LED sensor. Once the LED sensor is plugged in, the sensor clamp stops working automatically.

In case the user does not require the sensor clamp and only needs the LED sensor to collect data from the meter, please ignore this step and go to Step 4 directly.

Place the transmitter near the input trunk cables for home (usually under the electricity meter). Fix the Sensor Clamp around the live wire or the null wire of the input trunk cables for the home. Make sure to let the wire pass through the clamp.

The Sensor Clamp immediately starts to detect the current and the transmitter sends the data to the Display Unit. The monitoring system now starts to monitor the electricity energy consumption of home. And the user will begin to see the real data of home energy consumption on the LCD of the Display Unit.

The transmitter can be put flat in a dry place nearby or be stuck on the wall nearby.

Note: We have three kinds of optional sensor clamps for different diameter wire: 10mm, 18mm and 25mm.

3-phase power supply

If the monitoring target is 3-phase, the user needs two more sensor clamps for the transmitter. Attach the DC plug of each extra sensor clamp into the DC sockets on the back of the Transmitter, as per below photo.

Fix the 3pcs of Sensor Clamps around the lines of Phase-A, Phase-B and Phase-C (Don’t fix the clamps around the ground wire and neutral wire).

Note: Under single phase power supply, one transmitter can work on up to three objects by using 3pcs sensor clamps fixed around the live wire or the null line of each object (if they are close enough to the transmitter). In this case, the information displayed on the screen of the Display Unit for this transmitter is a total value of these three objects.

Installation of the 1-way Transmitter and LED Sensor

In case the user does not require the LED sensor to collect data from the meter, please ignore this step.

The LED sensor reads data directly from the meter and calculates the energy consumption by the IMP pulse flashing.

To install the LED sensor on the transmitter, just plug the DC plug of the LED sensor to its socket on the bottom of the transmitter. Please refer to below photo.

The sensor side is installed on the meter. Please refer to below photo, the back of the fixing frame is with 3M sticker. Stick the fixing frame on the meter, make sure the LED hole is just in the position of the IMP pulse flashing window of the meter. It’s very important not to allow outside light to interfere the LED sensor.

Then put the LED sensor with cover on the fixing frame and turn it around clockwise until the position is secured.

Resetting, Data Clearance and Programming Version

Warning: The following operation will clear all data from the Display Unit’s memory, including the previous pairing, history data and setting. After resetting, all Transmitters need to do the pairing again with the Display Unit.

- Please pull out the power adapter (and remove the batteries, if they are there) from the Display Unit.

- Then press at the same time the UP and DOWN key and hold it there, then attach the plug of the power adapter into the Display Unit. The LCD screen will display the full LCD symbols as per below photo and after 3 seconds the LED indicator will flash twice.

- Now release the UP and DOWN key, the LED indicator will light up and the LCD screen will display the programming version number for about 3 seconds, as per below photo (version number in below photo is example only). All data has been cleared.

- Now pull out the power adapter and attach it again into the Display Unit. The LCD will display the full LCD symbols first and then enter into the setting interface for the year, where the symbol “Y” is flashing. Please start the setting as per the setting instructions described before.

Note: In case the Display Unit is powered off due to power cut, the data will not be lost.

Buzzer setting

Upon the Default Display, press at the same time the DOWN key and the UP key to enter the setting interface of buzzer as below photo. Please press the DOWN key or the UP key to switch between ON and OFF status. Then press the OK key to save and return the LCD to the Default Display. The factory setting of buzzer is OFF.

Main Displays and Functions

- Switch to other main displays from the Default Display

From the Default Display (COST), shortly press the OK key to switch to other main displays.

Press the OK key once from the Default Display (COST) will switch to the Default Display (ENERGY) as per below photo, which displays in real time the current total power under consumption by all channels. The LCD screen will stay on this display if there is no other key operation.

Default Display (ENERGY):

Press the OK key twice from the Default Display (COST) will switch to the ENERGY HISTORY Display as below photo, which displays the history data of the energy in kWh already consumed today by all channels. 15 seconds idleness on ENERGY HISTORY Display will return the LCD screen to Default Display (COST).

ENERGY HISTORY Display:

Press the OK key three times from the Default Display (COST) will switch to the COST HISTORY Display as below photo, which displays the history data of the money already spent today for electricity consumption by all channels. 15 seconds idleness on COST HISTORY Display will return the LCD screen to Default Display (COST). Continue pressing the OK key from this display will return the LCD to the Default Display (COST)

COST HISTORY Display:

- Default Display (COST)

The Default Display (COST) is what the user usually sees from the LCD screen of the Display Unit.

It is the forecast of next hour’s total electricity cost in money of all channels based on current power under consumption. The Tariff No. will always display on the LCD screen and automatically reflect the applied tariff for current period.

The change of the current power under consumption will change the forecast of next hour’s cost.

Press the UP key or the DOWN key from the Default Display (COST) will allow the user to view the COST Display for each single channel. In that case, the clock icon and numbers will be replaced with the channel number under viewing (for example, CH01 as per below photo).

If that channel is paired with transmitter with clamp, the clamp number will be showed on the display. If that channel is paired with transmitter with LED sensor, the clamp number will not appear, instead the Imp symbol will be showed.

10 seconds idleness on each channel display will return the LCD screen to Default Display (COST).

No key operation under any other display, except Default Display (Energy), will return the LCD screen to the Default Display (COST).

- Default Display (ENERGY)

From the Default Display (COST), shortly press the OK key once to switch to the Default Display (ENERGY), which displays the current power under consumption for all channels, as per below photo.

Once the LCD is switched to the Default Display (ENERGY) from the Default Display (COST), the LCD will keep showing this display in normal working mode, unless it is switched to other main displays.

Press the UP key or the DOWN key from the Default Display (ENERGY) will allow the user to view the current power under consumption for each single channel. In that case, the clock icon and numbers will be replaced with the channel number under viewing (for example, CH01 as per below photo).

10 seconds idleness on each channel display will return the LCD screen to Default Display (ENERGY) of all channels.

There are two units (watts and kW) involved in this display. For data equal to or below 999.9 watts, the unit displayed is watts, for data above 999.9 watts, the unit will automatically switch to kW.

- ENERGY HISTORY Display

From the Default Display (COST), shortly press the OK key twice to switch to the ENERGY HISTORY Display, which displays the history data of the energy in kWh already consumed today by all channels.

There are three kinds of cost history data automatically switching among each other in an interval of 5 seconds.

TODAY means the electricity already consumed for current day up to now from 00:00 of current day.

This Month means the electricity already consumed for current month up to now from 00:00 1st of current month.

This Year means the electricity already consumed for current year up to now from 00:00 1st January of current year.

Press the UP key or the DOWN key from the ENERGY HISTORY Display will allow the user to view the data for each single channel. In that case, the clock icon and numbers will be replaced with the channel number under viewing. 10 seconds idleness on each channel display will return the LCD screen to Default COST Display.

If the value of the history data is more than 9999, the digits will be displayed as dashes, ----. Upon which the user can press the UP key and the DOWN key at the same time to get the difference value of the data over 10,000. For example, if the history value of This Year is 10,000kWh, the user will get the difference value of 0000kWh. For 10,005kWh, the user will see the difference value as 0005kWh, as per below photo:

.

To view the energy consumption data of an exact day, from the ENERGY HISTORY Display, press the UP key for about 3 seconds until the display enters into the history date input interface as per below photo:

The numbers before the decimal point is for month and the numbers after the decimal point is for day. Then use the UP or DOWN key and the OK key to select the date. The last pressing of the OK key will make the selected date flash, then press the DOWN key to display the electricity spent for the selected date (as per below photo). If you want to view the history data of an exact month, just input the day value as 00 after the month value and confirm.

The history view of an exact day is available for the past 31 days. The history view of an exact month is available for the past 12 months. To view such history data for a single channel, please Press the UP key or the DOWN key from the ENERGY HISTORY Display to switch to that channel, then press the UP key for about 3 seconds until the display enters into the history date input interface and operate the same way.

15 seconds idleness on the display will return the LCD screen to Default Display (COST).

- COST HISTORY Display

From the Default Display (COST), shortly press the OK key twice to switch to the COST HISTORY Display, which displays the history data of the money already spent for electricity consumption of all channels..

There are three kinds of cost history data automatically switching among each other in an interval of 5 seconds.

TODAY means the money already spent for current day up to now from 00:00 of current day.

MTD means the money already spent for current month up to now from 00:00 1st of current month.

YTD means the money already spent for current year up to now from 00:00 1st January of current year.

Press the UP key or the DOWN key from the COST HISTORY Display will allow the user to view the data for each single channel. In that case, the clock icon and numbers will be replaced with the channel number under viewing. 15 seconds idleness on each channel display will return the LCD screen to Default COST Display.

If the value of the history data is more than 9999, the digits will be displayed as dashes, ----. Upon which the user can press the UP key and the DOWN key at the same time to get the difference value of the data over 10,000. For example, if the value of This Year is $10,000, the user will get the difference value of $0000. For $10,005, the user will see the difference value as $0005.

To view the cost data of an exact day, from the COST HISTORY Display, press the UP key for about 3 seconds until the display enters into the history date input interface as per below photo.

The numbers before the decimal point is for month and the numbers after the decimal point is for day. Then use the UP or DOWN key and the OK key to select the date. The last pressing of the OK key will make the selected date flash, then press the DOWN key to display the electricity spent for the selected date (as per below photo). If you want to view the history data of an exact month, just input the day value as 00 after the month value and confirm.

The history view of an exact day is available for the past 31 days. The history view of an exact month is available for the past 12 months. To view such history data for a single channel, please Press the UP key or the DOWN key from the COST HISTORY Display to switch to that channel, then press the UP key for about 3 seconds until the display enters into the history date input interface and operate the same way.

15 seconds idleness on the display will return the LCD screen to Default Display (COST).

- RJ45-USB Data Cable and Software

The RJ45-USB Data Cable and the software allow you to view your electricity consumption.